## CUSTOMER INFO
Email completed form to MWS.DS@nashville.gov
Request Date:
Work Order#:
Property Location:
Cross Street:
Date of Test:
Time of Test:
Flow Hydrant ID:
Monitor Hydrant ID:
Contact Person:
Email:
Company Name:
Physical Address:
Mailing Address:
City / State / Zipcode:
Contact Phone: |  |  | Ph#2
Request to be on site: | YES |  |  | NO
How would you like to receive your results (email):
WSFH Permit #:
Flow Hydrant Address:
Actual Flow Hyd ID:
Monitor Hyd Address:
Actual Monitor Hyd ID:
Inspector Comments:
Purpose of Hydrant Test: (Check all that apply with an X)
Review for Building Permit Required by:
Fire Marshal |  | Flow Requirement: |  |  |  | GPM
Metro Water Services
Engineer/Fire Sprinkler Company:
Sprinkler Design
Proposed Tap Location(s): |  |  | Main Size
Proposed Development with Hydrants
Proposed Tap Location(s): |  |  | Main Size
|  |  | CHARGES : |  | 350
MWS Staff Initials |  |  | Plus 10% Tech Fee per BL2022-1254
rev071025smr |  |  | TOTAL : |  | 385
HYDRANT FLOW TEST WORKSHEET
CUSTOMER INFORMATION AND BILLING
FOR METRO WATER SERVICES USE ONLY
CUSTOMER BILLING INFORMATION
COMMENTS

## TEST FORM-RESULTS
Two Hydrant Test Results Summary
System Services Division (SSD)
[6 empty] | Business Unit: 65556810 Work Order # | 0 | 0 | 0 | 0 | 0 | 0
Date of Test |  | 0 |  |  | Request Date: | 0
Property Location |  | 0
Cross Street: |  | 0
Hydrant # 1 - Flowing Hydrant
MWS ID |  | 0
Static Pressure |  |  | psi | Time ON
Flow Pressure (Pitot) |  |  | psi | Time OFF
Hydrant Outlet Coefficient |  |  | 0.9
Hydrant Outlet Diameter |  |  | 2.5 | inches
This corresponds to a flowrate of |  |  | 0 | gpm | Using the Orifice Eqtn. (4.7.3 of NFPA 291)
Hydrant #2 - Monitoring Hydrant
MWS ID |  | 0
Static Pressure |  |  | psi | Time ON
Residual Pressure |  |  | psi | Time OFF
Calculation of available fire flow at 20 psi as required by Table H.5.1 of the NFPA 1 Uniform Fire Code 2006 Edition (Using the pressure relational equation - 4.10.1.2 of NFPA 291)
With a 20 psi residual pressure at Monitoring Hydrant #2, the available flow in the main at Flowing Hydrant #1 is: | [5 empty] | Review | gpm
MWS is providing these instantaneous readings for informational purposes only and cannot ensure that it represents actual hydrant flow conditions over any period of time.
Residual Presure at Hydrant #2 (psi) | Flow (gpm)
5 | #NUM!
10 | #NUM!
15 | #NUM!
20 | #NUM!
25 | #NUM!
30 | #NUM!
35 | #NUM!
40 | #NUM!
45 | #NUM!
50 | #NUM!
55 | #NUM!
60 | #NUM!
65 | #NUM!
70 | #NUM!
75 | #NUM!
80 | #NUM!
85 | #NUM!
90 | #NUM!
95 | #NUM!
100 | #NUM!
105 | #NUM!
110 | #NUM!
115 | #NUM!
120 | #NUM!
125 | #NUM!
130 | #NUM!
135 | #NUM!
140 | #NUM!
145 | #NUM!
150 | #NUM!